## Topology
Line | Origin Node | Destination Node
1 | 0 | 1
2 | 1 | 2
3 | 2 | 3
4 | 3 | 4

## Nodes
Nodes | G, Shunt admittance to the ground, real part G | B, shunt admittance to the ground, reactive par B | ¦Vmin¦^2 (kV^2) | ¦Vmax¦^2 (kV^2) | Shunt admittances data are missing and could improve the precision of the model
0 | 0 | 0 | 0.0529 | 0.0529
1 | 0 | 0 | 0.046742 | 0.054499
2 | 0 | 0 | 0.046742 | 0.054499 | Upper Voltage Deviation Allowed (%) | 1.5
3 | 0 | 0 | 0.046742 | 0.054499 | Lower Deviation Allowed (%) | -6
4 | 0 | 0 | 0.046742 | 0.054499

## Lines
Line | Resistance (Ohm/Km) | Reactance(Ohm/km) | Length (km) | Total Resistance(Ohm) | Total Reactance (Ohm) | MaximumCurrent (I^2) kA^2 | Maximum Apparent Power (MVA)
1 | 0.31 | 0.0713 | 0.35 | 0.1085 | 0.024955 | 0.0441 | 0.021316
2 | 0.31 | 0.0713 | 0.0072 | 0.002232 | 0.00051336 | 0.0441 | 0.021316
3 | 0.31 | 0.0713 | 0.0072 | 0.002232 | 0.00051336 | 0.0441 | 0.021316
4 | 0.31 | 0.0713 | 0.0072 | 0.002232 | 0.00051336 | 0.0441 | 0.021316

## DemandProfiles
Timestamp | Profile_ID Data in MW | Profile_ID | Profile_ID | Profile_ID
| 1bis | 2bis | 3bis | 4bis
2015-05-07T00:00:00+0200 | 0.00027263 | 0.00019253 | 0.00017165 | 0.0007138
2015-05-07T01:00:00+0200 | 0.00022731 | 0.00017489 | 0.00020065 | 0.00068376
2015-05-07T02:00:00+0200 | 0.00023686 | 0.00017511 | 0.00021287 | 0.00061214
2015-05-07T03:00:00+0200 | 0.00013539 | 0.00016076 | 0.00023555 | 0.0009044
2015-05-07T04:00:00+0200 | 0.00036611 | 0.00017086 | 0.00034277 | 0.00060196
2015-05-07T05:00:00+0200 | 0.00087853 | 0.00031107 | 0.00046239 | 0.0011103
2015-05-07T06:00:00+0200 | 0.00064227 | 0.00016768 | 0.00029962 | 0.00074444
2015-05-07T07:00:00+0200 | 0.00015965 | 0.00011984 | 9.7416e-05 | 8.2646e-05
2015-05-07T08:00:00+0200 | 0 | 0 | 0 | 0
2015-05-07T09:00:00+0200 | 0 | 0 | 0 | 0
2015-05-07T10:00:00+0200 | 0 | 0 | 0 | 0
2015-05-07T11:00:00+0200 | 0 | 0 | 0 | 0
2015-05-07T12:00:00+0200 | 0 | 0 | 0 | 0
2015-05-07T13:00:00+0200 | 0 | 0 | 0 | 0
2015-05-07T14:00:00+0200 | 0 | 0 | 0 | 0
2015-05-07T15:00:00+0200 | 0 | 0 | 0 | 0
2015-05-07T16:00:00+0200 | 0 | 0 | 0 | 0
2015-05-07T17:00:00+0200 | 0 | 5.0946e-05 | 0 | 0
2015-05-07T18:00:00+0200 | 0 | 3.63e-05 | 8.154e-05 | 0.00012268
2015-05-07T19:00:00+0200 | 0.00035111 | 0.00044515 | 0.00058496 | 0.00056911
2015-05-07T20:00:00+0200 | 0.00069949 | 0.0004897 | 0.00026841 | 0.0016624
2015-05-07T21:00:00+0200 | 0.00052235 | 0.00038844 | 0.00050734 | 0.0013011
2015-05-07T22:00:00+0200 | 0.00032714 | 0.0003779 | 0.00028502 | 0.0013524
2015-05-07T23:00:00+0200 | 0.00027812 | 0.00023587 | 0.00016018 | 0.00086689
2015-05-08T00:00:00+0200 | 0.00022561 | 0.00019378 | 0.00021017 | 0.00056382
2015-05-08T01:00:00+0200 | 0.00022731 | 0.00021482 | 0.00025177 | 0.00061327
2015-05-08T02:00:00+0200 | 0.00020463 | 0.00022337 | 0.00020168 | 0.00054154
2015-05-08T03:00:00+0200 | 0.00030694 | 0.00026617 | 0.00029727 | 0.00058728
2015-05-08T04:00:00+0200 | 0.00031842 | 0.00018969 | 0.00032326 | 0.0010911
2015-05-08T05:00:00+0200 | 0.00035243 | 0.00041312 | 0.00030051 | 0.00058503
2015-05-08T06:00:00+0200 | 4.73e-05 | 0.00012621 | 0.00029687 | 0.0017731
2015-05-08T07:00:00+0200 | 2.372e-05 | 0 | 0 | 0.00049345
2015-05-08T08:00:00+0200 | 0 | 0 | 0 | 0
2015-05-08T09:00:00+0200 | 0 | 0 | 0 | 0
2015-05-08T10:00:00+0200 | 0 | 0 | 0 | 0
2015-05-08T11:00:00+0200 | 0 | 0 | 0 | 0
2015-05-08T12:00:00+0200 | 0 | 0 | 0 | 0
2015-05-08T13:00:00+0200 | 0 | 0 | 0 | 0
2015-05-08T14:00:00+0200 | 0 | 0 | 0 | 0
2015-05-08T15:00:00+0200 | 0 | 0 | 0 | 0
2015-05-08T16:00:00+0200 | 0 | 0 | 0 | 0
2015-05-08T17:00:00+0200 | 0 | 0 | 3.657e-06 | 8.3958e-05
2015-05-08T18:00:00+0200 | 0.00060324 | 0.00038115 | 0.00056348 | 0.00099825
2015-05-08T19:00:00+0200 | 0.00076265 | 0.00027746 | 0.00046057 | 0.001512
2015-05-08T20:00:00+0200 | 0.00029097 | 0.00053388 | 0.00041368 | 0.00085863
2015-05-08T21:00:00+0200 | 0.0005076 | 0.00029986 | 0.00050946 | 0.0010579
2015-05-08T22:00:00+0200 | 0.00062936 | 0.00027267 | 0.00029956 | 0.0014608
2015-05-08T23:00:00+0200 | 0.00013876 | 0.00019772 | 0.00015748 | 0.00062564
2015-05-09T00:00:00+0200 | 0.00023312 | 0.00018171 | 0.00020378 | 0.00078634
2015-05-09T01:00:00+0200 | 0.00013932 | 0.00013893 | 0.00020497 | 0.0006225
2015-05-09T02:00:00+0200 | 0.00027003 | 0.00016437 | 0.00021154 | 0.00085872
2015-05-09T03:00:00+0200 | 0.00025608 | 0.0001705 | 0.00028497 | 0.00070562
2015-05-09T04:00:00+0200 | 0.00022445 | 0.00013871 | 0.00028467 | 0.00071859
2015-05-09T05:00:00+0200 | 0.00040628 | 9.5623e-05 | 0.00023766 | 0.00080839
2015-05-09T06:00:00+0200 | 0.00017432 | 0.00021857 | 0.00019964 | 0.0013384
2015-05-09T07:00:00+0200 | 0 | 0 | 1.6229e-05 | 0
2015-05-09T08:00:00+0200 | 0 | 0 | 6.3791e-05 | 0
2015-05-09T09:00:00+0200 | 0 | 0 | 0 | 0
2015-05-09T10:00:00+0200 | 0 | 0 | 0 | 0
2015-05-09T11:00:00+0200 | 0 | 0 | 0 | 0
2015-05-09T12:00:00+0200 | 0 | 0 | 0 | 0
2015-05-09T13:00:00+0200 | 0 | 0 | 0 | 0
2015-05-09T14:00:00+0200 | 0 | 0 | 0 | 0
2015-05-09T15:00:00+0200 | 0 | 0 | 0 | 0
2015-05-09T16:00:00+0200 | 0 | 0 | 0 | 0
2015-05-09T17:00:00+0200 | 0 | 1.0297e-05 | 8.8591e-06 | 0.00042116
2015-05-09T18:00:00+0200 | 0.00022515 | 0.00014815 | 8.4899e-05 | 0.0011086
2015-05-09T19:00:00+0200 | 0.00041466 | 0.00024506 | 0.00049684 | 0.00084015
2015-05-09T20:00:00+0200 | 0.00037765 | 0.00050795 | 0.00037383 | 0.00069328
2015-05-09T21:00:00+0200 | 0.0003131 | 0.00032622 | 0.00046331 | 0.0013449
2015-05-09T22:00:00+0200 | 0.00027529 | 0.00028172 | 0.0002843 | 0.0014075
2015-05-09T23:00:00+0200 | 0.00031448 | 0.00027745 | 0.00028865 | 0.00089316
2015-05-10T00:00:00+0200 | 0.00018808 | 0.0002381 | 0.00017967 | 0.00047451
2015-05-10T01:00:00+0200 | 0.00025843 | 0.00015217 | 0.00030894 | 0.00041097
2015-05-10T02:00:00+0200 | 0.00010139 | 0.00026117 | 0.00016221 | 0.00050214
2015-05-10T03:00:00+0200 | 0.00013822 | 0.00024786 | 0.00022969 | 0.00095335
2015-05-10T04:00:00+0200 | 0.00024044 | 0.00023192 | 0.00019667 | 0.0011134
2015-05-10T05:00:00+0200 | 0.00021673 | 0.00018821 | 0.00010506 | 0.0010372
2015-05-10T06:00:00+0200 | 0.00040098 | 2.4341e-05 | 0.00014366 | 0.00066168
2015-05-10T07:00:00+0200 | 0.00034048 | 5.2415e-05 | 2.2079e-05 | 0.0005339
2015-05-10T08:00:00+0200 | 0 | 2.5081e-05 | 0 | 0
2015-05-10T09:00:00+0200 | 0 | 0 | 0 | 0
2015-05-10T10:00:00+0200 | 0 | 0 | 0 | 0
2015-05-10T11:00:00+0200 | 0 | 0 | 0 | 0
2015-05-10T12:00:00+0200 | 0 | 0 | 0 | 0
2015-05-10T13:00:00+0200 | 0 | 0 | 0 | 0
2015-05-10T14:00:00+0200 | 0 | 0 | 0 | 0
2015-05-10T15:00:00+0200 | 0 | 0 | 0 | 0
2015-05-10T16:00:00+0200 | 0 | 0 | 0 | 0
2015-05-10T17:00:00+0200 | 0 | 0 | 0 | 0
2015-05-10T18:00:00+0200 | 4.6374e-05 | 4.8165e-05 | 5.6998e-05 | 0.00051788
2015-05-10T19:00:00+0200 | 0.00025216 | 0.00036536 | 0.00027225 | 0.0014276
2015-05-10T20:00:00+0200 | 0.0010367 | 0.0004238 | 0.00059743 | 0.0015679
2015-05-10T21:00:00+0200 | 0.00028172 | 0.00032825 | 0.00048021 | 0.0016831
2015-05-10T22:00:00+0200 | 0.00042588 | 0.00023425 | 0.00034507 | 0.00045838
2015-05-10T23:00:00+0200 | 0.00027783 | 0.00017646 | 0.00021552 | 0.00057708
2015-05-11T00:00:00+0200 | 0.00020734 | 0.00012839 | 0.00025592 | 0.0008121
2015-05-11T01:00:00+0200 | 0.00016727 | 0.00019261 | 0.00027243 | 0.00063912
2015-05-11T02:00:00+0200 | 0.00026534 | 0.00018099 | 0.00024634 | 0.00045951
2015-05-11T03:00:00+0200 | 0.00019103 | 0.00029125 | 0.00030642 | 0.00054519
2015-05-11T04:00:00+0200 | 0.00026059 | 0.00034723 | 0.00021781 | 0.0010479
2015-05-11T05:00:00+0200 | 0.00018122 | 0.0003964 | 0.00037388 | 0.00094829
2015-05-11T06:00:00+0200 | 0 | 5.1572e-05 | 2.5288e-05 | 0.00078779
2015-05-11T07:00:00+0200 | 0 | 0 | 0.00020311 | 0
2015-05-11T08:00:00+0200 | 0 | 0 | 0 | 0
2015-05-11T09:00:00+0200 | 0 | 0 | 0 | 0
2015-05-11T10:00:00+0200 | 0 | 0 | 0 | 0
2015-05-11T11:00:00+0200 | 0 | 0 | 0 | 0
2015-05-11T12:00:00+0200 | 0 | 0 | 0 | 0
2015-05-11T13:00:00+0200 | 0 | 0 | 0 | 0
2015-05-11T14:00:00+0200 | 0 | 0 | 0 | 0
2015-05-11T15:00:00+0200 | 0 | 0 | 0 | 0
2015-05-11T16:00:00+0200 | 0 | 0 | 0 | 0
2015-05-11T17:00:00+0200 | 0 | 0 | 2.6071e-05 | 0
2015-05-11T18:00:00+0200 | 9.954e-05 | 0.00021854 | 0.0001549 | 0.00024214
2015-05-11T19:00:00+0200 | 0.00079979 | 0.00018628 | 0.00050001 | 0.00046031
2015-05-11T20:00:00+0200 | 0.0004834 | 0.00045948 | 0.00044446 | 0.0020053
2015-05-11T21:00:00+0200 | 0.0012093 | 0.00031355 | 0.00044863 | 0.0014651
2015-05-11T22:00:00+0200 | 0.00061772 | 0.00013582 | 0.00034866 | 0.00064543
2015-05-11T23:00:00+0200 | 0.00027331 | 0.00022083 | 0.00025483 | 0.0011549
2015-05-12T00:00:00+0200 | 0.00019947 | 0.00019169 | 0.00026003 | 0.00085867
2015-05-12T01:00:00+0200 | 0.00030144 | 0.00017294 | 0.00025938 | 0.0008181
2015-05-12T02:00:00+0200 | 0.00016772 | 0.00014416 | 0.00014879 | 0.00049616
2015-05-12T03:00:00+0200 | 0.00022947 | 0.00013406 | 9.4297e-05 | 0.00085877
2015-05-12T04:00:00+0200 | 0.00032104 | 0.000244 | 0.00038662 | 0.0014632
2015-05-12T05:00:00+0200 | 0.00024936 | 0.00028643 | 0.0004087 | 0.0010101
2015-05-12T06:00:00+0200 | 0.00015936 | 0.00016951 | 0.0001526 | 8.7732e-05
2015-05-12T07:00:00+0200 | 0.00036986 | 0 | 1.6466e-05 | 0.00018971
2015-05-12T08:00:00+0200 | 0 | 0 | 0 | 0
2015-05-12T09:00:00+0200 | 0 | 0 | 0 | 0
2015-05-12T10:00:00+0200 | 0 | 0 | 0 | 0
2015-05-12T11:00:00+0200 | 0 | 0 | 0 | 0
2015-05-12T12:00:00+0200 | 0 | 0 | 0 | 0
2015-05-12T13:00:00+0200 | 0 | 0 | 0 | 0
2015-05-12T14:00:00+0200 | 0 | 0 | 0 | 0
2015-05-12T15:00:00+0200 | 0 | 0 | 0 | 0
2015-05-12T16:00:00+0200 | 0 | 0 | 0 | 0
2015-05-12T17:00:00+0200 | 0 | 0 | 0 | 0
2015-05-12T18:00:00+0200 | 0 | 0.00015774 | 5.1432e-05 | 0.001458
2015-05-12T19:00:00+0200 | 0.00027483 | 0.00047945 | 0.0004553 | 0.0013069
2015-05-12T20:00:00+0200 | 0.00040134 | 0.00043499 | 0.00045177 | 0.0016255
2015-05-12T21:00:00+0200 | 0.00035634 | 0.00033786 | 0.00053277 | 0.0011154
2015-05-12T22:00:00+0200 | 0.00066483 | 0.00026787 | 0.00023973 | 0.0010388
2015-05-12T23:00:00+0200 | 0.0003554 | 0.00026564 | 0.00027977 | 0.00096138
2015-05-13T00:00:00+0200 | 0.00020274 | 0.00018332 | 0.00023681 | 0.00067212
2015-05-13T01:00:00+0200 | 0.00019104 | 0.00018362 | 0.00024883 | 0.00042996
2015-05-13T02:00:00+0200 | 0.00021261 | 9.6298e-05 | 0.00030986 | 0.00053731
2015-05-13T03:00:00+0200 | 0.00023261 | 9.291e-05 | 0.00023085 | 0.00081648
2015-05-13T04:00:00+0200 | 0.00027011 | 0.00031842 | 0.00018469 | 0.0011098
2015-05-13T05:00:00+0200 | 0.00029723 | 0.00026366 | 0.00051232 | 0.00069742
2015-05-13T06:00:00+0200 | 0.00012769 | 0.00024532 | 0.00019796 | 0.00036223
2015-05-13T07:00:00+0200 | 0 | 0 | 0 | 0
2015-05-13T08:00:00+0200 | 0 | 0 | 0 | 0
2015-05-13T09:00:00+0200 | 0 | 0 | 0 | 0
2015-05-13T10:00:00+0200 | 0 | 0 | 0 | 0
2015-05-13T11:00:00+0200 | 0 | 0 | 0 | 0
2015-05-13T12:00:00+0200 | 0 | 0 | 0 | 0
2015-05-13T13:00:00+0200 | 0 | 0 | 0 | 0
2015-05-13T14:00:00+0200 | 0 | 0 | 0 | 0
2015-05-13T15:00:00+0200 | 0 | 0 | 0 | 0
2015-05-13T16:00:00+0200 | 0 | 0 | 0 | 0
2015-05-13T17:00:00+0200 | 0 | 0 | 0 | 0
2015-05-13T18:00:00+0200 | 0.00016566 | 1.619e-06 | 0.00015441 | 0
2015-05-13T19:00:00+0200 | 0.00038255 | 0.00023363 | 0.000395 | 0.0010584
2015-05-13T20:00:00+0200 | 0.00078925 | 0.00050128 | 0.00050303 | 0.0012488
2015-05-13T21:00:00+0200 | 0.00032157 | 0.00035603 | 0.00028478 | 0.0015957
2015-05-13T22:00:00+0200 | 0.00082146 | 0.0001765 | 0.00031003 | 0.00078815
2015-05-13T23:00:00+0200 | 0.00032998 | 0.00026411 | 0.00024887 | 0.00055839
2015-05-14T00:00:00+0200 | 0.00023569 | 0.00016127 | 0.00026581 | 0.00090353

## DemandAverage
Timestamp | Profile_ID Data in MW | Profile_ID | Profile_ID | Profile_ID
| 1bis | 2bis | 3bis | 4bis
2015-02-19T00:00:00+0100 | 0.00033765 | 0.00033765 | 0.00033765 | 0.00033765
2015-02-19T01:00:00+0100 | 0.00032165 | 0.00032165 | 0.00032165 | 0.00032165
2015-02-19T02:00:00+0100 | 0.00030925 | 0.00030925 | 0.00030925 | 0.00030925
2015-02-19T03:00:00+0100 | 0.00035903 | 0.00035903 | 0.00035903 | 0.00035903
2015-02-19T04:00:00+0100 | 0.00037043 | 0.00037043 | 0.00037043 | 0.00037043
2015-02-19T05:00:00+0100 | 0.00069057 | 0.00069057 | 0.00069057 | 0.00069057
2015-02-19T06:00:00+0100 | 0.0004635 | 0.0004635 | 0.0004635 | 0.0004635
2015-02-19T07:00:00+0100 | 0.00011489 | 0.00011489 | 0.00011489 | 0.00011489
2015-02-19T08:00:00+0100 | 0 | 0 | 0 | 0
2015-02-19T09:00:00+0100 | 0 | 0 | 0 | 0
2015-02-19T10:00:00+0100 | 0 | 0 | 0 | 0
2015-02-19T11:00:00+0100 | 0 | 0 | 0 | 0
2015-02-19T12:00:00+0100 | 0 | 0 | 0 | 0
2015-02-19T13:00:00+0100 | 0 | 0 | 0 | 0
2015-02-19T14:00:00+0100 | 0 | 0 | 0 | 0
2015-02-19T15:00:00+0100 | 0 | 0 | 0 | 0
2015-02-19T16:00:00+0100 | 0 | 0 | 0 | 0
2015-02-19T17:00:00+0100 | 1.2736e-05 | 1.2736e-05 | 1.2736e-05 | 1.2736e-05
2015-02-19T18:00:00+0100 | 6.013e-05 | 6.013e-05 | 6.013e-05 | 6.013e-05
2015-02-19T19:00:00+0100 | 0.00048758 | 0.00048758 | 0.00048758 | 0.00048758
2015-02-19T20:00:00+0100 | 0.00077999 | 0.00077999 | 0.00077999 | 0.00077999
2015-02-19T21:00:00+0100 | 0.00067981 | 0.00067981 | 0.00067981 | 0.00067981
2015-02-19T22:00:00+0100 | 0.00058562 | 0.00058562 | 0.00058562 | 0.00058562
2015-02-19T23:00:00+0100 | 0.00038526 | 0.00038526 | 0.00038526 | 0.00038526
2015-02-20T00:00:00+0100 | 0.00029835 | 0.00029835 | 0.00029835 | 0.00029835
2015-02-20T01:00:00+0100 | 0.00032679 | 0.00032679 | 0.00032679 | 0.00032679
2015-02-20T02:00:00+0100 | 0.00029281 | 0.00029281 | 0.00029281 | 0.00029281
2015-02-20T03:00:00+0100 | 0.00036442 | 0.00036442 | 0.00036442 | 0.00036442
2015-02-20T04:00:00+0100 | 0.00048063 | 0.00048063 | 0.00048063 | 0.00048063
2015-02-20T05:00:00+0100 | 0.00041277 | 0.00041277 | 0.00041277 | 0.00041277
2015-02-20T06:00:00+0100 | 0.00056087 | 0.00056087 | 0.00056087 | 0.00056087
2015-02-20T07:00:00+0100 | 0.00012929 | 0.00012929 | 0.00012929 | 0.00012929
2015-02-20T08:00:00+0100 | 0 | 0 | 0 | 0
2015-02-20T09:00:00+0100 | 0 | 0 | 0 | 0
2015-02-20T10:00:00+0100 | 0 | 0 | 0 | 0
2015-02-20T11:00:00+0100 | 0 | 0 | 0 | 0
2015-02-20T12:00:00+0100 | 0 | 0 | 0 | 0
2015-02-20T13:00:00+0100 | 0 | 0 | 0 | 0
2015-02-20T14:00:00+0100 | 0 | 0 | 0 | 0
2015-02-20T15:00:00+0100 | 0 | 0 | 0 | 0
2015-02-20T16:00:00+0100 | 0 | 0 | 0 | 0
2015-02-20T17:00:00+0100 | 2.1904e-05 | 2.1904e-05 | 2.1904e-05 | 2.1904e-05
2015-02-20T18:00:00+0100 | 0.00063653 | 0.00063653 | 0.00063653 | 0.00063653
2015-02-20T19:00:00+0100 | 0.00075316 | 0.00075316 | 0.00075316 | 0.00075316
2015-02-20T20:00:00+0100 | 0.00052429 | 0.00052429 | 0.00052429 | 0.00052429
2015-02-20T21:00:00+0100 | 0.0005937 | 0.0005937 | 0.0005937 | 0.0005937
2015-02-20T22:00:00+0100 | 0.0006656 | 0.0006656 | 0.0006656 | 0.0006656
2015-02-20T23:00:00+0100 | 0.0002799 | 0.0002799 | 0.0002799 | 0.0002799
2015-02-21T00:00:00+0100 | 0.00035124 | 0.00035124 | 0.00035124 | 0.00035124
2015-02-21T01:00:00+0100 | 0.00027643 | 0.00027643 | 0.00027643 | 0.00027643
2015-02-21T02:00:00+0100 | 0.00037617 | 0.00037617 | 0.00037617 | 0.00037617
2015-02-21T03:00:00+0100 | 0.00035429 | 0.00035429 | 0.00035429 | 0.00035429
2015-02-21T04:00:00+0100 | 0.00034161 | 0.00034161 | 0.00034161 | 0.00034161
2015-02-21T05:00:00+0100 | 0.00038699 | 0.00038699 | 0.00038699 | 0.00038699
2015-02-21T06:00:00+0100 | 0.00048274 | 0.00048274 | 0.00048274 | 0.00048274
2015-02-21T07:00:00+0100 | 4.0574e-06 | 4.0574e-06 | 4.0574e-06 | 4.0574e-06
2015-02-21T08:00:00+0100 | 1.5948e-05 | 1.5948e-05 | 1.5948e-05 | 1.5948e-05
2015-02-21T09:00:00+0100 | 0 | 0 | 0 | 0
2015-02-21T10:00:00+0100 | 0 | 0 | 0 | 0
2015-02-21T11:00:00+0100 | 0 | 0 | 0 | 0
2015-02-21T12:00:00+0100 | 0 | 0 | 0 | 0
2015-02-21T13:00:00+0100 | 0 | 0 | 0 | 0
2015-02-21T14:00:00+0100 | 0 | 0 | 0 | 0
2015-02-21T15:00:00+0100 | 0 | 0 | 0 | 0
2015-02-21T16:00:00+0100 | 0 | 0 | 0 | 0
2015-02-21T17:00:00+0100 | 0.00011008 | 0.00011008 | 0.00011008 | 0.00011008
2015-02-21T18:00:00+0100 | 0.0003917 | 0.0003917 | 0.0003917 | 0.0003917
2015-02-21T19:00:00+0100 | 0.00049918 | 0.00049918 | 0.00049918 | 0.00049918
2015-02-21T20:00:00+0100 | 0.00048818 | 0.00048818 | 0.00048818 | 0.00048818
2015-02-21T21:00:00+0100 | 0.00061187 | 0.00061187 | 0.00061187 | 0.00061187
2015-02-21T22:00:00+0100 | 0.00056221 | 0.00056221 | 0.00056221 | 0.00056221
2015-02-21T23:00:00+0100 | 0.00044343 | 0.00044343 | 0.00044343 | 0.00044343
2015-02-22T00:00:00+0100 | 0.00027009 | 0.00027009 | 0.00027009 | 0.00027009
2015-02-22T01:00:00+0100 | 0.00028263 | 0.00028263 | 0.00028263 | 0.00028263
2015-02-22T02:00:00+0100 | 0.00025673 | 0.00025673 | 0.00025673 | 0.00025673
2015-02-22T03:00:00+0100 | 0.00039228 | 0.00039228 | 0.00039228 | 0.00039228
2015-02-22T04:00:00+0100 | 0.00044562 | 0.00044562 | 0.00044562 | 0.00044562
2015-02-22T05:00:00+0100 | 0.0003868 | 0.0003868 | 0.0003868 | 0.0003868
2015-02-22T06:00:00+0100 | 0.00030767 | 0.00030767 | 0.00030767 | 0.00030767
2015-02-22T07:00:00+0100 | 0.00023722 | 0.00023722 | 0.00023722 | 0.00023722
2015-02-22T08:00:00+0100 | 6.2702e-06 | 6.2702e-06 | 6.2702e-06 | 6.2702e-06
2015-02-22T09:00:00+0100 | 0 | 0 | 0 | 0
2015-02-22T10:00:00+0100 | 0 | 0 | 0 | 0
2015-02-22T11:00:00+0100 | 0 | 0 | 0 | 0
2015-02-22T12:00:00+0100 | 0 | 0 | 0 | 0
2015-02-22T13:00:00+0100 | 0 | 0 | 0 | 0
2015-02-22T14:00:00+0100 | 0 | 0 | 0 | 0
2015-02-22T15:00:00+0100 | 0 | 0 | 0 | 0
2015-02-22T16:00:00+0100 | 0 | 0 | 0 | 0
2015-02-22T17:00:00+0100 | 0 | 0 | 0 | 0
2015-02-22T18:00:00+0100 | 0.00016735 | 0.00016735 | 0.00016735 | 0.00016735
2015-02-22T19:00:00+0100 | 0.00057934 | 0.00057934 | 0.00057934 | 0.00057934
2015-02-22T20:00:00+0100 | 0.00090645 | 0.00090645 | 0.00090645 | 0.00090645
2015-02-22T21:00:00+0100 | 0.00069333 | 0.00069333 | 0.00069333 | 0.00069333
2015-02-22T22:00:00+0100 | 0.0003659 | 0.0003659 | 0.0003659 | 0.0003659
2015-02-22T23:00:00+0100 | 0.00031172 | 0.00031172 | 0.00031172 | 0.00031172
2015-02-23T00:00:00+0100 | 0.00035094 | 0.00035094 | 0.00035094 | 0.00035094
2015-02-23T01:00:00+0100 | 0.00031786 | 0.00031786 | 0.00031786 | 0.00031786
2015-02-23T02:00:00+0100 | 0.00028804 | 0.00028804 | 0.00028804 | 0.00028804
2015-02-23T03:00:00+0100 | 0.00033347 | 0.00033347 | 0.00033347 | 0.00033347
2015-02-23T04:00:00+0100 | 0.00046839 | 0.00046839 | 0.00046839 | 0.00046839
2015-02-23T05:00:00+0100 | 0.00047495 | 0.00047495 | 0.00047495 | 0.00047495
2015-02-23T06:00:00+0100 | 0.00021616 | 0.00021616 | 0.00021616 | 0.00021616
2015-02-23T07:00:00+0100 | 5.0776e-05 | 5.0776e-05 | 5.0776e-05 | 5.0776e-05
2015-02-23T08:00:00+0100 | 0 | 0 | 0 | 0
2015-02-23T09:00:00+0100 | 0 | 0 | 0 | 0
2015-02-23T10:00:00+0100 | 0 | 0 | 0 | 0
2015-02-23T11:00:00+0100 | 0 | 0 | 0 | 0
2015-02-23T12:00:00+0100 | 0 | 0 | 0 | 0
2015-02-23T13:00:00+0100 | 0 | 0 | 0 | 0
2015-02-23T14:00:00+0100 | 0 | 0 | 0 | 0
2015-02-23T15:00:00+0100 | 0 | 0 | 0 | 0
2015-02-23T16:00:00+0100 | 0 | 0 | 0 | 0
2015-02-23T17:00:00+0100 | 6.5177e-06 | 6.5177e-06 | 6.5177e-06 | 6.5177e-06
2015-02-23T18:00:00+0100 | 0.00017878 | 0.00017878 | 0.00017878 | 0.00017878
2015-02-23T19:00:00+0100 | 0.0004866 | 0.0004866 | 0.0004866 | 0.0004866
2015-02-23T20:00:00+0100 | 0.00084817 | 0.00084817 | 0.00084817 | 0.00084817
2015-02-23T21:00:00+0100 | 0.00085915 | 0.00085915 | 0.00085915 | 0.00085915
2015-02-23T22:00:00+0100 | 0.00043691 | 0.00043691 | 0.00043691 | 0.00043691
2015-02-23T23:00:00+0100 | 0.00047597 | 0.00047597 | 0.00047597 | 0.00047597
2015-02-24T00:00:00+0100 | 0.00037747 | 0.00037747 | 0.00037747 | 0.00037747
2015-02-24T01:00:00+0100 | 0.00038797 | 0.00038797 | 0.00038797 | 0.00038797
2015-02-24T02:00:00+0100 | 0.00023921 | 0.00023921 | 0.00023921 | 0.00023921
2015-02-24T03:00:00+0100 | 0.00032915 | 0.00032915 | 0.00032915 | 0.00032915
2015-02-24T04:00:00+0100 | 0.00060371 | 0.00060371 | 0.00060371 | 0.00060371
2015-02-24T05:00:00+0100 | 0.00048866 | 0.00048866 | 0.00048866 | 0.00048866
2015-02-24T06:00:00+0100 | 0.0001423 | 0.0001423 | 0.0001423 | 0.0001423
2015-02-24T07:00:00+0100 | 0.00014401 | 0.00014401 | 0.00014401 | 0.00014401
2015-02-24T08:00:00+0100 | 0 | 0 | 0 | 0
2015-02-24T09:00:00+0100 | 0 | 0 | 0 | 0
2015-02-24T10:00:00+0100 | 0 | 0 | 0 | 0
2015-02-24T11:00:00+0100 | 0 | 0 | 0 | 0
2015-02-24T12:00:00+0100 | 0 | 0 | 0 | 0
2015-02-24T13:00:00+0100 | 0 | 0 | 0 | 0
2015-02-24T14:00:00+0100 | 0 | 0 | 0 | 0
2015-02-24T15:00:00+0100 | 0 | 0 | 0 | 0
2015-02-24T16:00:00+0100 | 0 | 0 | 0 | 0
2015-02-24T17:00:00+0100 | 0 | 0 | 0 | 0
2015-02-24T18:00:00+0100 | 0.00041679 | 0.00041679 | 0.00041679 | 0.00041679
2015-02-24T19:00:00+0100 | 0.00062912 | 0.00062912 | 0.00062912 | 0.00062912
2015-02-24T20:00:00+0100 | 0.0007284 | 0.0007284 | 0.0007284 | 0.0007284
2015-02-24T21:00:00+0100 | 0.0005856 | 0.0005856 | 0.0005856 | 0.0005856
2015-02-24T22:00:00+0100 | 0.00055281 | 0.00055281 | 0.00055281 | 0.00055281
2015-02-24T23:00:00+0100 | 0.00046555 | 0.00046555 | 0.00046555 | 0.00046555
2015-02-25T00:00:00+0100 | 0.00032375 | 0.00032375 | 0.00032375 | 0.00032375
2015-02-25T01:00:00+0100 | 0.00026336 | 0.00026336 | 0.00026336 | 0.00026336
2015-02-25T02:00:00+0100 | 0.00028902 | 0.00028902 | 0.00028902 | 0.00028902
2015-02-25T03:00:00+0100 | 0.00034321 | 0.00034321 | 0.00034321 | 0.00034321
2015-02-25T04:00:00+0100 | 0.00047076 | 0.00047076 | 0.00047076 | 0.00047076
2015-02-25T05:00:00+0100 | 0.00044266 | 0.00044266 | 0.00044266 | 0.00044266
2015-02-25T06:00:00+0100 | 0.0002333 | 0.0002333 | 0.0002333 | 0.0002333
2015-02-25T07:00:00+0100 | 0 | 0 | 0 | 0
2015-02-25T08:00:00+0100 | 0 | 0 | 0 | 0
2015-02-25T09:00:00+0100 | 0 | 0 | 0 | 0
2015-02-25T10:00:00+0100 | 0 | 0 | 0 | 0
2015-02-25T11:00:00+0100 | 0 | 0 | 0 | 0
2015-02-25T12:00:00+0100 | 0 | 0 | 0 | 0
2015-02-25T13:00:00+0100 | 0 | 0 | 0 | 0
2015-02-25T14:00:00+0100 | 0 | 0 | 0 | 0
2015-02-25T15:00:00+0100 | 0 | 0 | 0 | 0
2015-02-25T16:00:00+0100 | 0 | 0 | 0 | 0
2015-02-25T17:00:00+0100 | 0 | 0 | 0 | 0
2015-02-25T18:00:00+0100 | 8.0421e-05 | 8.0421e-05 | 8.0421e-05 | 8.0421e-05
2015-02-25T19:00:00+0100 | 0.0005174 | 0.0005174 | 0.0005174 | 0.0005174
2015-02-25T20:00:00+0100 | 0.00076059 | 0.00076059 | 0.00076059 | 0.00076059
2015-02-25T21:00:00+0100 | 0.00063952 | 0.00063952 | 0.00063952 | 0.00063952
2015-02-25T22:00:00+0100 | 0.00052403 | 0.00052403 | 0.00052403 | 0.00052403
2015-02-25T23:00:00+0100 | 0.00035034 | 0.00035034 | 0.00035034 | 0.00035034
2015-02-26T00:00:00+0100 | 0.00039158 | 0.00039158 | 0.00039158 | 0.00039158

## QDemandProfiles
Timestamp | Profile_ID | Profile_ID | Profile_ID | Profile_ID
| 1bis | 2bis | 3bis | 4bis
2015-05-07T00:00:00+0200 | 0.00012843 | 9.5563e-05 | 9.8133e-05 | 0.00022691
2015-05-07T01:00:00+0200 | 0.00011556 | 9.0371e-05 | 0.00010747 | 0.00022106
2015-05-07T02:00:00+0200 | 0.00011835 | 9.044e-05 | 0.00011123 | 0.00020679
2015-05-07T03:00:00+0200 | 8.5404e-05 | 8.6054e-05 | 0.00011797 | 0.00026237
2015-05-07T04:00:00+0200 | 0.00015252 | 8.9158e-05 | 0.00014676 | 0.00020472
2015-05-07T05:00:00+0200 | 0.00025769 | 0.0001264 | 0.00017497 | 0.00029831
2015-05-07T06:00:00+0200 | 0.00021286 | 8.8189e-05 | 0.00013569 | 0.00023278
2015-05-07T07:00:00+0200 | 9.4067e-05 | 7.25e-05 | 7.0235e-05 | 6.3587e-05
2015-05-07T08:00:00+0200 | 0 | 0 | 0 | 0
2015-05-07T09:00:00+0200 | 0 | 0 | 0 | 0
2015-05-07T10:00:00+0200 | 0 | 0 | 0 | 0
2015-05-07T11:00:00+0200 | 0 | 0 | 0 | 0
2015-05-07T12:00:00+0200 | 0 | 0 | 0 | 0
2015-05-07T13:00:00+0200 | 0 | 0 | 0 | 0
2015-05-07T14:00:00+0200 | 0 | 0 | 0 | 0
2015-05-07T15:00:00+0200 | 0 | 0 | 0 | 0
2015-05-07T16:00:00+0200 | 0 | 0 | 0 | 0
2015-05-07T17:00:00+0200 | 0 | 4.3306e-05 | 0 | 0
2015-05-07T18:00:00+0200 | 0 | 3.4857e-05 | 6.3067e-05 | 8.0578e-05
2015-05-07T19:00:00+0200 | 0.00014884 | 0.00015625 | 0.00020123 | 0.00019795
2015-05-07T20:00:00+0200 | 0.00022413 | 0.00016543 | 0.00012727 | 0.00038733
2015-05-07T21:00:00+0200 | 0.00018809 | 0.00014408 | 0.00018486 | 0.00033008
2015-05-07T22:00:00+0200 | 0.00014282 | 0.00014176 | 0.0001318 | 0.00033842
2015-05-07T23:00:00+0200 | 0.00012993 | 0.00010754 | 9.4249e-05 | 0.00025558
2015-05-08T00:00:00+0200 | 0.00011505 | 9.5924e-05 | 0.00011041 | 0.00019685
2015-05-08T01:00:00+0200 | 0.00011555 | 0.00010184 | 0.00012263 | 0.00020702
2015-05-08T02:00:00+0200 | 0.00010871 | 0.00010418 | 0.00010779 | 0.00019217
2015-05-08T03:00:00+0200 | 0.00013761 | 0.00011539 | 0.00013506 | 0.00020171
2015-05-08T04:00:00+0200 | 0.00014058 | 9.4741e-05 | 0.00014183 | 0.00029506
2015-05-08T05:00:00+0200 | 0.00014916 | 0.00014945 | 0.00013592 | 0.00020125
2015-05-08T06:00:00+0200 | 4.477e-05 | 7.4734e-05 | 0.00013496 | 0.00040431
2015-05-08T07:00:00+0200 | 2.7847e-05 | 0 | 0 | 0.00018183
2015-05-08T08:00:00+0200 | 0 | 0 | 0 | 0
2015-05-08T09:00:00+0200 | 0 | 0 | 0 | 0
2015-05-08T10:00:00+0200 | 0 | 0 | 0 | 0
2015-05-08T11:00:00+0200 | 0 | 0 | 0 | 0
2015-05-08T12:00:00+0200 | 0 | 0 | 0 | 0
2015-05-08T13:00:00+0200 | 0 | 0 | 0 | 0
2015-05-08T14:00:00+0200 | 0 | 0 | 0 | 0
2015-05-08T15:00:00+0200 | 0 | 0 | 0 | 0
2015-05-08T16:00:00+0200 | 0 | 0 | 0 | 0
2015-05-08T17:00:00+0200 | 0 | 0 | 5.834e-06 | 6.4199e-05
2015-05-08T18:00:00+0200 | 0.00020498 | 0.00014247 | 0.00019678 | 0.00027901
2015-05-08T19:00:00+0200 | 0.00023624 | 0.00011822 | 0.00017456 | 0.00036388
2015-05-08T20:00:00+0200 | 0.00013339 | 0.00017427 | 0.00016386 | 0.00025407
2015-05-08T21:00:00+0200 | 0.00018491 | 0.00012371 | 0.00018531 | 0.00028935
2015-05-08T22:00:00+0200 | 0.00021027 | 0.00011702 | 0.00013567 | 0.00035579
2015-05-08T23:00:00+0200 | 8.6647e-05 | 9.7049e-05 | 9.3319e-05 | 0.00020952
2015-05-09T00:00:00+0200 | 0.00011726 | 9.2405e-05 | 0.00010845 | 0.0002407
2015-05-09T01:00:00+0200 | 8.6851e-05 | 7.9043e-05 | 0.00010881 | 0.00020889
2015-05-09T02:00:00+0200 | 0.00012772 | 8.7173e-05 | 0.00011083 | 0.00025409
2015-05-09T03:00:00+0200 | 0.00012384 | 8.9049e-05 | 0.00013178 | 0.00022532
2015-05-09T04:00:00+0200 | 0.00011471 | 7.897e-05 | 0.0001317 | 0.00022783
2015-05-09T05:00:00+0200 | 0.00016213 | 6.3477e-05 | 0.00011859 | 0.00024482
2015-05-09T06:00:00+0200 | 9.9022e-05 | 0.00010287 | 0.00010716 | 0.00033615
2015-05-09T07:00:00+0200 | 0 | 0 | 2.0937e-05 | 0
2015-05-09T08:00:00+0200 | 0 | 0 | 5.4191e-05 | 0
2015-05-09T09:00:00+0200 | 0 | 0 | 0 | 0
2015-05-09T10:00:00+0200 | 0 | 0 | 0 | 0
2015-05-09T11:00:00+0200 | 0 | 0 | 0 | 0
2015-05-09T12:00:00+0200 | 0 | 0 | 0 | 0
2015-05-09T13:00:00+0200 | 0 | 0 | 0 | 0
2015-05-09T14:00:00+0200 | 0 | 0 | 0 | 0
2015-05-09T15:00:00+0200 | 0 | 0 | 0 | 0
2015-05-09T16:00:00+0200 | 0 | 0 | 0 | 0
2015-05-09T17:00:00+0200 | 0 | 1.3948e-05 | 1.2806e-05 | 0.00016559
2015-05-09T18:00:00+0200 | 0.00011492 | 8.2058e-05 | 6.4636e-05 | 0.00029803
2015-05-09T19:00:00+0200 | 0.00016408 | 0.00010996 | 0.00018258 | 0.00025069
2015-05-09T20:00:00+0200 | 0.00015532 | 0.00016911 | 0.0001544 | 0.00022292
2015-05-09T21:00:00+0200 | 0.00013921 | 0.00012998 | 0.00017517 | 0.00033719
2015-05-09T22:00:00+0200 | 0.00012916 | 0.00011928 | 0.0001316 | 0.00034729
2015-05-09T23:00:00+0200 | 0.00013957 | 0.00011821 | 0.00013277 | 0.00026034
2015-05-10T00:00:00+0200 | 0.0001035 | 0.00010813 | 0.00010078 | 0.00017767
2015-05-10T01:00:00+0200 | 0.0001245 | 8.3347e-05 | 0.00013813 | 0.00016322
2015-05-10T02:00:00+0200 | 7.1938e-05 | 0.00011412 | 9.4948e-05 | 0.00018373
2015-05-10T03:00:00+0200 | 8.6447e-05 | 0.00011069 | 0.00011626 | 0.0002711
2015-05-10T04:00:00+0200 | 0.00011939 | 0.00010648 | 0.00010623 | 0.00029885
2015-05-10T05:00:00+0200 | 0.0001124 | 9.4311e-05 | 7.3485e-05 | 0.00028578
2015-05-10T06:00:00+0200 | 0.00016088 | 2.6604e-05 | 8.843e-05 | 0.00021672
2015-05-10T07:00:00+0200 | 0.00014619 | 4.4083e-05 | 2.6423e-05 | 0.00019055
2015-05-10T08:00:00+0200 | 0 | 2.7164e-05 | 0 | 0
2015-05-10T09:00:00+0200 | 0 | 0 | 0 | 0
2015-05-10T10:00:00+0200 | 0 | 0 | 0 | 0
2015-05-10T11:00:00+0200 | 0 | 0 | 0 | 0
2015-05-10T12:00:00+0200 | 0 | 0 | 0 | 0
2015-05-10T13:00:00+0200 | 0 | 0 | 0 | 0
2015-05-10T14:00:00+0200 | 0 | 0 | 0 | 0
2015-05-10T15:00:00+0200 | 0 | 0 | 0 | 0
2015-05-10T16:00:00+0200 | 0 | 0 | 0 | 0
2015-05-10T17:00:00+0200 | 0 | 0 | 0 | 0
2015-05-10T18:00:00+0200 | 4.4197e-05 | 4.1805e-05 | 5.0476e-05 | 0.00018713
2015-05-10T19:00:00+0200 | 0.00012274 | 0.00013895 | 0.00012833 | 0.0003505
2015-05-10T20:00:00+0200 | 0.00028569 | 0.00015174 | 0.0002038 | 0.00037266
2015-05-10T21:00:00+0200 | 0.00013091 | 0.00013046 | 0.00017893 | 0.00039054
2015-05-10T22:00:00+0200 | 0.00016668 | 0.00010711 | 0.00014734 | 0.00017407
2015-05-10T23:00:00+0200 | 0.00012985 | 9.0844e-05 | 0.00011204 | 0.00019961
2015-05-11T00:00:00+0200 | 0.00010954 | 7.5485e-05 | 0.0001238 | 0.00024551
2015-05-11T01:00:00+0200 | 9.6664e-05 | 9.5585e-05 | 0.00012838 | 0.00021223
2015-05-11T02:00:00+0200 | 0.00012643 | 9.2192e-05 | 0.00012108 | 0.00017432
2015-05-11T03:00:00+0200 | 0.00010445 | 0.00012162 | 0.00013747 | 0.00019294
2015-05-11T04:00:00+0200 | 0.0001251 | 0.00013484 | 0.00011272 | 0.00028764
2015-05-11T05:00:00+0200 | 0.00010129 | 0.00014583 | 0.00015441 | 0.00027021
2015-05-11T06:00:00+0200 | 0 | 4.3639e-05 | 2.9168e-05 | 0.00024097
2015-05-11T07:00:00+0200 | 0 | 0 | 0.00010824 | 0
2015-05-11T08:00:00+0200 | 0 | 0 | 0 | 0
2015-05-11T09:00:00+0200 | 0 | 0 | 0 | 0
2015-05-11T10:00:00+0200 | 0 | 0 | 0 | 0
2015-05-11T11:00:00+0200 | 0 | 0 | 0 | 0
2015-05-11T12:00:00+0200 | 0 | 0 | 0 | 0
2015-05-11T13:00:00+0200 | 0 | 0 | 0 | 0
2015-05-11T14:00:00+0200 | 0 | 0 | 0 | 0
2015-05-11T15:00:00+0200 | 0 | 0 | 0 | 0
2015-05-11T16:00:00+0200 | 0 | 0 | 0 | 0
2015-05-11T17:00:00+0200 | 0 | 0 | 2.9813e-05 | 0
2015-05-11T18:00:00+0200 | 7.1151e-05 | 0.00010287 | 9.242e-05 | 0.00011988
2015-05-11T19:00:00+0200 | 0.00024322 | 9.3748e-05 | 0.00018326 | 0.0001745
2015-05-11T20:00:00+0200 | 0.00017963 | 0.00015923 | 0.00017093 | 0.00043924
2015-05-11T21:00:00+0200 | 0.00031495 | 0.00012699 | 0.00017188 | 0.00035647
2015-05-11T22:00:00+0200 | 0.00020792 | 7.8006e-05 | 0.00014823 | 0.00021349
2015-05-11T23:00:00+0200 | 0.00012862 | 0.00010349 | 0.00012349 | 0.00030586
2015-05-12T00:00:00+0200 | 0.0001071 | 9.532e-05 | 0.00012495 | 0.00025408
2015-05-12T01:00:00+0200 | 0.00013617 | 8.9786e-05 | 0.00012477 | 0.00024662
2015-05-12T02:00:00+0200 | 9.6816e-05 | 8.0764e-05 | 9.0268e-05 | 0.00018243
2015-05-12T03:00:00+0200 | 0.00011619 | 7.7413e-05 | 6.8874e-05 | 0.0002541
2015-05-12T04:00:00+0200 | 0.00014126 | 0.00010968 | 0.00015747 | 0.00035616
2015-05-12T05:00:00+0200 | 0.00012194 | 0.00012044 | 0.00016269 | 0.00028108
2015-05-12T06:00:00+0200 | 9.3969e-05 | 8.8747e-05 | 9.1616e-05 | 6.5936e-05
2015-05-12T07:00:00+0200 | 0.00015344 | 0 | 2.1173e-05 | 0.00010402
2015-05-12T08:00:00+0200 | 0 | 0 | 0 | 0
2015-05-12T09:00:00+0200 | 0 | 0 | 0 | 0
2015-05-12T10:00:00+0200 | 0 | 0 | 0 | 0
2015-05-12T11:00:00+0200 | 0 | 0 | 0 | 0
2015-05-12T12:00:00+0200 | 0 | 0 | 0 | 0
2015-05-12T13:00:00+0200 | 0 | 0 | 0 | 0
2015-05-12T14:00:00+0200 | 0 | 0 | 0 | 0
2015-05-12T15:00:00+0200 | 0 | 0 | 0 | 0
2015-05-12T16:00:00+0200 | 0 | 0 | 0 | 0
2015-05-12T17:00:00+0200 | 0 | 0 | 0 | 0
2015-05-12T18:00:00+0200 | 0 | 8.5109e-05 | 4.7266e-05 | 0.00035534
2015-05-12T19:00:00+0200 | 0.00012904 | 0.00016334 | 0.00017338 | 0.00033102
2015-05-12T20:00:00+0200 | 0.00016097 | 0.00015411 | 0.00017258 | 0.00038163
2015-05-12T21:00:00+0200 | 0.00015013 | 0.00013269 | 0.00019031 | 0.00029919
2015-05-12T22:00:00+0200 | 0.00021734 | 0.00011581 | 0.00011918 | 0.00028606
2015-05-12T23:00:00+0200 | 0.0001499 | 0.00011525 | 0.00013038 | 0.00027252
2015-05-13T00:00:00+0200 | 0.00010812 | 9.2879e-05 | 0.00011834 | 0.00021878
2015-05-13T01:00:00+0200 | 0.00010445 | 9.2967e-05 | 0.00012179 | 0.00016762
2015-05-13T02:00:00+0200 | 0.00011115 | 6.3742e-05 | 0.00013837 | 0.00019127
2015-05-13T03:00:00+0200 | 0.00011711 | 6.2404e-05 | 0.0001166 | 0.00024632
2015-05-13T04:00:00+0200 | 0.00012774 | 0.00012815 | 0.00010241 | 0.00029824
2015-05-13T05:00:00+0200 | 0.00013505 | 0.00011475 | 0.00018593 | 0.00022373
2015-05-13T06:00:00+0200 | 8.2504e-05 | 0.00011002 | 0.00010663 | 0.00015158
2015-05-13T07:00:00+0200 | 0 | 0 | 0 | 0
2015-05-13T08:00:00+0200 | 0 | 0 | 0 | 0
2015-05-13T09:00:00+0200 | 0 | 0 | 0 | 0
2015-05-13T10:00:00+0200 | 0 | 0 | 0 | 0
2015-05-13T11:00:00+0200 | 0 | 0 | 0 | 0
2015-05-13T12:00:00+0200 | 0 | 0 | 0 | 0
2015-05-13T13:00:00+0200 | 0 | 0 | 0 | 0
2015-05-13T14:00:00+0200 | 0 | 0 | 0 | 0
2015-05-13T15:00:00+0200 | 0 | 0 | 0 | 0
2015-05-13T16:00:00+0200 | 0 | 0 | 0 | 0
2015-05-13T17:00:00+0200 | 0 | 0 | 0 | 0
2015-05-13T18:00:00+0200 | 9.612e-05 | 2.6751e-06 | 9.2249e-05 | 0
2015-05-13T19:00:00+0200 | 0.0001565 | 0.00010694 | 0.00015947 | 0.00028944
2015-05-13T20:00:00+0200 | 0.00024125 | 0.00016777 | 0.00018392 | 0.0003215
2015-05-13T21:00:00+0200 | 0.00014139 | 0.00013685 | 0.00013173 | 0.000377
2015-05-13T22:00:00+0200 | 0.00024724 | 9.0855e-05 | 0.00013841 | 0.00024104
2015-05-13T23:00:00+0200 | 0.00014354 | 0.00011486 | 0.0001218 | 0.00019572
2015-05-14T00:00:00+0200 | 0.00011801 | 8.6213e-05 | 0.00012656 | 0.00026221

## SolarProfiles
Timestamp | Profile_ID | Profile_ID | Profile_ID | Profile_ID
| 1bis | 2bis | 3bis | 4bis
2015-05-07T00:00:00+0200 | 0 | 0 | 0 | 0
2015-05-07T01:00:00+0200 | 0 | 0 | 0 | 0
2015-05-07T02:00:00+0200 | 0 | 0 | 0 | 0
2015-05-07T03:00:00+0200 | 0 | 0 | 0 | 0
2015-05-07T04:00:00+0200 | 0 | 0 | 0 | 0
2015-05-07T05:00:00+0200 | 0 | 0 | 0 | 0
2015-05-07T06:00:00+0200 | 0 | 0 | 0 | 0
2015-05-07T07:00:00+0200 | 0 | 0 | 0 | 0
2015-05-07T08:00:00+0200 | 0.00057156 | 0.00023529 | 0.00010815 | 0.0010649
2015-05-07T09:00:00+0200 | 0.00070241 | 0.00025577 | 0.00032735 | 0.001139
2015-05-07T10:00:00+0200 | 0.0017188 | 0.00060966 | 0.00073409 | 0.003069
2015-05-07T11:00:00+0200 | 0.00081625 | 0.00040772 | 0.00035367 | 0.0016412
2015-05-07T12:00:00+0200 | 0.0015474 | 0.00062457 | 0.00056163 | 0.0029443
2015-05-07T13:00:00+0200 | 0.0024451 | 0.001025 | 0.0014152 | 0.0049749
2015-05-07T14:00:00+0200 | 0.0015194 | 0.00045637 | 0.00060485 | 0.0026274
2015-05-07T15:00:00+0200 | 0.0020068 | 0.00091441 | 0.0011627 | 0.005288
2015-05-07T16:00:00+0200 | 0.00078718 | 0.00014945 | 0.00011774 | 0.0010095
2015-05-07T17:00:00+0200 | 0.00064666 | 0 | 0.00023062 | 0.00064915
2015-05-07T18:00:00+0200 | 0.00024635 | 0 | 0 | 0
2015-05-07T19:00:00+0200 | 0 | 0 | 0 | 0
2015-05-07T20:00:00+0200 | 0 | 0 | 0 | 0
2015-05-07T21:00:00+0200 | 0 | 0 | 0 | 0
2015-05-07T22:00:00+0200 | 0 | 0 | 0 | 0
2015-05-07T23:00:00+0200 | 0 | 0 | 0 | 0
2015-05-08T00:00:00+0200 | 0 | 0 | 0 | 0
2015-05-08T01:00:00+0200 | 0 | 0 | 0 | 0
2015-05-08T02:00:00+0200 | 0 | 0 | 0 | 0
2015-05-08T03:00:00+0200 | 0 | 0 | 0 | 0
2015-05-08T04:00:00+0200 | 0 | 0 | 0 | 0
2015-05-08T05:00:00+0200 | 0 | 0 | 0 | 0
2015-05-08T06:00:00+0200 | 0 | 0 | 0 | 0
2015-05-08T07:00:00+0200 | 0 | 0.00021835 | 4.1602e-05 | 0
2015-05-08T08:00:00+0200 | 0.0015252 | 0.0006535 | 0.00060325 | 0.0027977
2015-05-08T09:00:00+0200 | 0.0016113 | 0.00071751 | 0.0007677 | 0.0038446
2015-05-08T10:00:00+0200 | 0.0016433 | 0.00072026 | 0.00087881 | 0.0034263
2015-05-08T11:00:00+0200 | 0.0025412 | 0.0011558 | 0.0012528 | 0.0056357
2015-05-08T12:00:00+0200 | 0.0029721 | 0.0011473 | 0.0015057 | 0.0055997
2015-05-08T13:00:00+0200 | 0.0029428 | 0.0013771 | 0.0015774 | 0.0059646
2015-05-08T14:00:00+0200 | 0.0020219 | 0.00089557 | 0.00097008 | 0.0043259
2015-05-08T15:00:00+0200 | 0.0020438 | 0.00074961 | 0.00088764 | 0.0037137
2015-05-08T16:00:00+0200 | 0.0011767 | 0.00032177 | 0.00034734 | 0.0018227
2015-05-08T17:00:00+0200 | 0.00034204 | 5.8641e-05 | 0 | 0
2015-05-08T18:00:00+0200 | 0 | 0 | 0 | 0
2015-05-08T19:00:00+0200 | 0 | 0 | 0 | 0
2015-05-08T20:00:00+0200 | 0 | 0 | 0 | 0
2015-05-08T21:00:00+0200 | 0 | 0 | 0 | 0
2015-05-08T22:00:00+0200 | 0 | 0 | 0 | 0
2015-05-08T23:00:00+0200 | 0 | 0 | 0 | 0
2015-05-09T00:00:00+0200 | 0 | 0 | 0 | 0
2015-05-09T01:00:00+0200 | 0 | 0 | 0 | 0
2015-05-09T02:00:00+0200 | 0 | 0 | 0 | 0
2015-05-09T03:00:00+0200 | 0 | 0 | 0 | 0
2015-05-09T04:00:00+0200 | 0 | 0 | 0 | 0
2015-05-09T05:00:00+0200 | 0 | 0 | 0 | 0
2015-05-09T06:00:00+0200 | 0 | 0 | 0 | 0
2015-05-09T07:00:00+0200 | 3.4436e-05 | 1.2333e-05 | 0 | 0.00019387
2015-05-09T08:00:00+0200 | 3.6705e-05 | 0.00029347 | 0 | 0.001022
2015-05-09T09:00:00+0200 | 0.0014927 | 0.00071336 | 0.00059453 | 0.0035278
2015-05-09T10:00:00+0200 | 0.0023776 | 0.0010232 | 0.0010656 | 0.0040746
2015-05-09T11:00:00+0200 | 0.0014625 | 0.00078739 | 0.00076356 | 0.0034224
2015-05-09T12:00:00+0200 | 0.0022315 | 0.00089104 | 0.0010828 | 0.0041674
2015-05-09T13:00:00+0200 | 0.0014314 | 0.00043703 | 0.00069157 | 0.0025289
2015-05-09T14:00:00+0200 | 0.00085111 | 0.00011721 | 0.00044208 | 0.00059575
2015-05-09T15:00:00+0200 | 0.0013801 | 0.00045668 | 0.00066877 | 0.0026701
2015-05-09T16:00:00+0200 | 0.00056251 | 0.00016045 | 0.00024334 | 0.0011731
2015-05-09T17:00:00+0200 | 0.00015573 | 0 | 0 | 0
2015-05-09T18:00:00+0200 | 0 | 0 | 0 | 0
2015-05-09T19:00:00+0200 | 0 | 0 | 0 | 0
2015-05-09T20:00:00+0200 | 0 | 0 | 0 | 0
2015-05-09T21:00:00+0200 | 0 | 0 | 0 | 0
2015-05-09T22:00:00+0200 | 0 | 0 | 0 | 0
2015-05-09T23:00:00+0200 | 0 | 0 | 0 | 0
2015-05-10T00:00:00+0200 | 0 | 0 | 0 | 0
2015-05-10T01:00:00+0200 | 0 | 0 | 0 | 0
2015-05-10T02:00:00+0200 | 0 | 0 | 0 | 0
2015-05-10T03:00:00+0200 | 0 | 0 | 0 | 0
2015-05-10T04:00:00+0200 | 0 | 0 | 0 | 0
2015-05-10T05:00:00+0200 | 0 | 0 | 0 | 0
2015-05-10T06:00:00+0200 | 0 | 0 | 0 | 0
2015-05-10T07:00:00+0200 | 0 | 0 | 0 | 0
2015-05-10T08:00:00+0200 | 0.00068638 | 0 | 9.2502e-05 | 0.0010614
2015-05-10T09:00:00+0200 | 0.0015597 | 0.00039741 | 0.00051555 | 0.0019453
2015-05-10T10:00:00+0200 | 0.0018731 | 0.00057071 | 0.00078844 | 0.0042875
2015-05-10T11:00:00+0200 | 0.0022028 | 0.00086007 | 0.0011613 | 0.0046664
2015-05-10T12:00:00+0200 | 0.002264 | 0.00080662 | 0.0011224 | 0.004822
2015-05-10T13:00:00+0200 | 0.0027582 | 0.0011464 | 0.0015241 | 0.0060956
2015-05-10T14:00:00+0200 | 0.0026362 | 0.0011447 | 0.0012137 | 0.0052349
2015-05-10T15:00:00+0200 | 0.0021123 | 0.00091692 | 0.0012046 | 0.004453
2015-05-10T16:00:00+0200 | 0.0016582 | 0.00084663 | 0.00074552 | 0.0032483
2015-05-10T17:00:00+0200 | 0.0011379 | 0.00040665 | 0.00030224 | 0.001676
2015-05-10T18:00:00+0200 | 0 | 0 | 0 | 0
2015-05-10T19:00:00+0200 | 0 | 0 | 0 | 0
2015-05-10T20:00:00+0200 | 0 | 0 | 0 | 0
2015-05-10T21:00:00+0200 | 0 | 0 | 0 | 0
2015-05-10T22:00:00+0200 | 0 | 0 | 0 | 0
2015-05-10T23:00:00+0200 | 0 | 0 | 0 | 0
2015-05-11T00:00:00+0200 | 0 | 0 | 0 | 0
2015-05-11T01:00:00+0200 | 0 | 0 | 0 | 0
2015-05-11T02:00:00+0200 | 0 | 0 | 0 | 0
2015-05-11T03:00:00+0200 | 0 | 0 | 0 | 0
2015-05-11T04:00:00+0200 | 0 | 0 | 0 | 0
2015-05-11T05:00:00+0200 | 0 | 0 | 0 | 0
2015-05-11T06:00:00+0200 | 7.3729e-05 | 0 | 0 | 0
2015-05-11T07:00:00+0200 | 0.00052995 | 7.3405e-05 | 0 | 0.00029083
2015-05-11T08:00:00+0200 | 0.0011228 | 0.00032878 | 0.00061603 | 0.0020079
2015-05-11T09:00:00+0200 | 0.0017557 | 0.00063808 | 0.00074998 | 0.0028476
2015-05-11T10:00:00+0200 | 0.0024665 | 0.00097949 | 0.0010226 | 0.004348
2015-05-11T11:00:00+0200 | 0.0026012 | 0.00094239 | 0.0011517 | 0.0046651
2015-05-11T12:00:00+0200 | 0.0023945 | 0.00092852 | 0.0011285 | 0.0051068
2015-05-11T13:00:00+0200 | 0.0030978 | 0.0012467 | 0.0013383 | 0.0053536
2015-05-11T14:00:00+0200 | 0.002077 | 0.00097078 | 0.00097946 | 0.0044364
2015-05-11T15:00:00+0200 | 0.0020982 | 0.00091059 | 0.00086907 | 0.0035958
2015-05-11T16:00:00+0200 | 0.0015309 | 0.00049706 | 0.00067353 | 0.0036474
2015-05-11T17:00:00+0200 | 0.00026246 | 5.2071e-05 | 0 | 0.00033223
2015-05-11T18:00:00+0200 | 0 | 0 | 0 | 0
2015-05-11T19:00:00+0200 | 0 | 0 | 0 | 0
2015-05-11T20:00:00+0200 | 0 | 0 | 0 | 0
2015-05-11T21:00:00+0200 | 0 | 0 | 0 | 0
2015-05-11T22:00:00+0200 | 0 | 0 | 0 | 0
2015-05-11T23:00:00+0200 | 0 | 0 | 0 | 0
2015-05-12T00:00:00+0200 | 0 | 0 | 0 | 0
2015-05-12T01:00:00+0200 | 0 | 0 | 0 | 0
2015-05-12T02:00:00+0200 | 0 | 0 | 0 | 0
2015-05-12T03:00:00+0200 | 0 | 0 | 0 | 0
2015-05-12T04:00:00+0200 | 0 | 0 | 0 | 0
2015-05-12T05:00:00+0200 | 0 | 0 | 0 | 0
2015-05-12T06:00:00+0200 | 0 | 0 | 0 | 0
2015-05-12T07:00:00+0200 | 0 | 5.6195e-05 | 0 | 0
2015-05-12T08:00:00+0200 | 0.00096558 | 0.00027648 | 0.00045148 | 0.0013624
2015-05-12T09:00:00+0200 | 0.0015593 | 0.00058611 | 0.00053494 | 0.0033737
2015-05-12T10:00:00+0200 | 0.0022141 | 0.00078455 | 0.00092219 | 0.0042615
2015-05-12T11:00:00+0200 | 0.0020027 | 0.000869 | 0.0011644 | 0.004101
2015-05-12T12:00:00+0200 | 0.0013143 | 0.0006461 | 0.00072226 | 0.0025746
2015-05-12T13:00:00+0200 | 0.0021926 | 0.001256 | 0.0012966 | 0.004963
2015-05-12T14:00:00+0200 | 0.0021556 | 0.0011369 | 0.0010996 | 0.0052689
2015-05-12T15:00:00+0200 | 0.002258 | 0.0009456 | 0.001132 | 0.0042296
2015-05-12T16:00:00+0200 | 0.0014147 | 0.00045023 | 0.00049631 | 0.0018055
2015-05-12T17:00:00+0200 | 0.00075231 | 0.00016574 | 3.0133e-05 | 0.0017268
2015-05-12T18:00:00+0200 | 0.00027577 | 0 | 0 | 0
2015-05-12T19:00:00+0200 | 0 | 0 | 0 | 0
2015-05-12T20:00:00+0200 | 0 | 0 | 0 | 0
2015-05-12T21:00:00+0200 | 0 | 0 | 0 | 0
2015-05-12T22:00:00+0200 | 0 | 0 | 0 | 0
2015-05-12T23:00:00+0200 | 0 | 0 | 0 | 0
2015-05-13T00:00:00+0200 | 0 | 0 | 0 | 0
2015-05-13T01:00:00+0200 | 0 | 0 | 0 | 0
2015-05-13T02:00:00+0200 | 0 | 0 | 0 | 0
2015-05-13T03:00:00+0200 | 0 | 0 | 0 | 0
2015-05-13T04:00:00+0200 | 0 | 0 | 0 | 0
2015-05-13T05:00:00+0200 | 0 | 0 | 0 | 0
2015-05-13T06:00:00+0200 | 0 | 0 | 0 | 0
2015-05-13T07:00:00+0200 | 0.00075411 | 0.00017738 | 1.3081e-05 | 0.0003859
2015-05-13T08:00:00+0200 | 0.0016714 | 0.00047594 | 0.00063202 | 0.0032217
2015-05-13T09:00:00+0200 | 0.0022561 | 0.00086041 | 0.00085084 | 0.0043619
2015-05-13T10:00:00+0200 | 0.00257 | 0.001135 | 0.0011105 | 0.0053226
2015-05-13T11:00:00+0200 | 0.0029764 | 0.0014155 | 0.0014298 | 0.0066654
2015-05-13T12:00:00+0200 | 0.0029042 | 0.0012594 | 0.0014833 | 0.0066735
2015-05-13T13:00:00+0200 | 0.0029624 | 0.0013409 | 0.001465 | 0.0064927
2015-05-13T14:00:00+0200 | 0.0027897 | 0.0012413 | 0.0014236 | 0.0058381
2015-05-13T15:00:00+0200 | 0.0016313 | 0.00068946 | 0.00057607 | 0.0026848
2015-05-13T16:00:00+0200 | 0.0015076 | 0.00051425 | 0.00069834 | 0.0033219
2015-05-13T17:00:00+0200 | 0.00089797 | 0.00048345 | 0.00039528 | 0.0021491
2015-05-13T18:00:00+0200 | 0 | 0 | 0 | 6.6914e-05
2015-05-13T19:00:00+0200 | 0 | 0 | 0 | 0
2015-05-13T20:00:00+0200 | 0 | 0 | 0 | 0
2015-05-13T21:00:00+0200 | 0 | 0 | 0 | 0
2015-05-13T22:00:00+0200 | 0 | 0 | 0 | 0
2015-05-13T23:00:00+0200 | 0 | 0 | 0 | 0
2015-05-14T00:00:00+0200 | 0 | 0 | 0 | 0

## SolarAverage
Timestamp | Profile_ID | Profile_ID | Profile_ID | Profile_ID
| 1bis | 2bis | 3bis | 4bis
2015-02-19T00:00:00+0100 | 0 | 0 | 0 | 0
2015-02-19T01:00:00+0100 | 0 | 0 | 0 | 0
2015-02-19T02:00:00+0100 | 0 | 0 | 0 | 0
2015-02-19T03:00:00+0100 | 0 | 0 | 0 | 0
2015-02-19T04:00:00+0100 | 0 | 0 | 0 | 0
2015-02-19T05:00:00+0100 | 0 | 0 | 0 | 0
2015-02-19T06:00:00+0100 | 0 | 0 | 0 | 0
2015-02-19T07:00:00+0100 | 0 | 0 | 0 | 0
2015-02-19T08:00:00+0100 | 0.00049497 | 0.00049497 | 0.00049497 | 0.00049497
2015-02-19T09:00:00+0100 | 0.00060615 | 0.00060615 | 0.00060615 | 0.00060615
2015-02-19T10:00:00+0100 | 0.0015329 | 0.0015329 | 0.0015329 | 0.0015329
2015-02-19T11:00:00+0100 | 0.00080472 | 0.00080472 | 0.00080472 | 0.00080472
2015-02-19T12:00:00+0100 | 0.0014195 | 0.0014195 | 0.0014195 | 0.0014195
2015-02-19T13:00:00+0100 | 0.0024651 | 0.0024651 | 0.0024651 | 0.0024651
2015-02-19T14:00:00+0100 | 0.001302 | 0.001302 | 0.001302 | 0.001302
2015-02-19T15:00:00+0100 | 0.002343 | 0.002343 | 0.002343 | 0.002343
2015-02-19T16:00:00+0100 | 0.00051597 | 0.00051597 | 0.00051597 | 0.00051597
2015-02-19T17:00:00+0100 | 0.00038161 | 0.00038161 | 0.00038161 | 0.00038161
2015-02-19T18:00:00+0100 | 6.1588e-05 | 6.1588e-05 | 6.1588e-05 | 6.1588e-05
2015-02-19T19:00:00+0100 | 0 | 0 | 0 | 0
2015-02-19T20:00:00+0100 | 0 | 0 | 0 | 0
2015-02-19T21:00:00+0100 | 0 | 0 | 0 | 0
2015-02-19T22:00:00+0100 | 0 | 0 | 0 | 0
2015-02-19T23:00:00+0100 | 0 | 0 | 0 | 0
2015-02-20T00:00:00+0100 | 0 | 0 | 0 | 0
2015-02-20T01:00:00+0100 | 0 | 0 | 0 | 0
2015-02-20T02:00:00+0100 | 0 | 0 | 0 | 0
2015-02-20T03:00:00+0100 | 0 | 0 | 0 | 0
2015-02-20T04:00:00+0100 | 0 | 0 | 0 | 0
2015-02-20T05:00:00+0100 | 0 | 0 | 0 | 0
2015-02-20T06:00:00+0100 | 0 | 0 | 0 | 0
2015-02-20T07:00:00+0100 | 6.4988e-05 | 6.4988e-05 | 6.4988e-05 | 6.4988e-05
2015-02-20T08:00:00+0100 | 0.0013949 | 0.0013949 | 0.0013949 | 0.0013949
2015-02-20T09:00:00+0100 | 0.0017353 | 0.0017353 | 0.0017353 | 0.0017353
2015-02-20T10:00:00+0100 | 0.0016672 | 0.0016672 | 0.0016672 | 0.0016672
2015-02-20T11:00:00+0100 | 0.0026464 | 0.0026464 | 0.0026464 | 0.0026464
2015-02-20T12:00:00+0100 | 0.0028062 | 0.0028062 | 0.0028062 | 0.0028062
2015-02-20T13:00:00+0100 | 0.0029655 | 0.0029655 | 0.0029655 | 0.0029655
2015-02-20T14:00:00+0100 | 0.0020534 | 0.0020534 | 0.0020534 | 0.0020534
2015-02-20T15:00:00+0100 | 0.0018487 | 0.0018487 | 0.0018487 | 0.0018487
2015-02-20T16:00:00+0100 | 0.00091712 | 0.00091712 | 0.00091712 | 0.00091712
2015-02-20T17:00:00+0100 | 0.00010017 | 0.00010017 | 0.00010017 | 0.00010017
2015-02-20T18:00:00+0100 | 0 | 0 | 0 | 0
2015-02-20T19:00:00+0100 | 0 | 0 | 0 | 0
2015-02-20T20:00:00+0100 | 0 | 0 | 0 | 0
2015-02-20T21:00:00+0100 | 0 | 0 | 0 | 0
2015-02-20T22:00:00+0100 | 0 | 0 | 0 | 0
2015-02-20T23:00:00+0100 | 0 | 0 | 0 | 0
2015-02-21T00:00:00+0100 | 0 | 0 | 0 | 0
2015-02-21T01:00:00+0100 | 0 | 0 | 0 | 0
2015-02-21T02:00:00+0100 | 0 | 0 | 0 | 0
2015-02-21T03:00:00+0100 | 0 | 0 | 0 | 0
2015-02-21T04:00:00+0100 | 0 | 0 | 0 | 0
2015-02-21T05:00:00+0100 | 0 | 0 | 0 | 0
2015-02-21T06:00:00+0100 | 0 | 0 | 0 | 0
2015-02-21T07:00:00+0100 | 6.0161e-05 | 6.0161e-05 | 6.0161e-05 | 6.0161e-05
2015-02-21T08:00:00+0100 | 0.00033805 | 0.00033805 | 0.00033805 | 0.00033805
2015-02-21T09:00:00+0100 | 0.0015821 | 0.0015821 | 0.0015821 | 0.0015821
2015-02-21T10:00:00+0100 | 0.0021352 | 0.0021352 | 0.0021352 | 0.0021352
2015-02-21T11:00:00+0100 | 0.001609 | 0.001609 | 0.001609 | 0.001609
2015-02-21T12:00:00+0100 | 0.0020932 | 0.0020932 | 0.0020932 | 0.0020932
2015-02-21T13:00:00+0100 | 0.0012722 | 0.0012722 | 0.0012722 | 0.0012722
2015-02-21T14:00:00+0100 | 0.00050154 | 0.00050154 | 0.00050154 | 0.00050154
2015-02-21T15:00:00+0100 | 0.0012939 | 0.0012939 | 0.0012939 | 0.0012939
2015-02-21T16:00:00+0100 | 0.00053485 | 0.00053485 | 0.00053485 | 0.00053485
2015-02-21T17:00:00+0100 | 3.8934e-05 | 3.8934e-05 | 3.8934e-05 | 3.8934e-05
2015-02-21T18:00:00+0100 | 0 | 0 | 0 | 0
2015-02-21T19:00:00+0100 | 0 | 0 | 0 | 0
2015-02-21T20:00:00+0100 | 0 | 0 | 0 | 0
2015-02-21T21:00:00+0100 | 0 | 0 | 0 | 0
2015-02-21T22:00:00+0100 | 0 | 0 | 0 | 0
2015-02-21T23:00:00+0100 | 0 | 0 | 0 | 0
2015-02-22T00:00:00+0100 | 0 | 0 | 0 | 0
2015-02-22T01:00:00+0100 | 0 | 0 | 0 | 0
2015-02-22T02:00:00+0100 | 0 | 0 | 0 | 0
2015-02-22T03:00:00+0100 | 0 | 0 | 0 | 0
2015-02-22T04:00:00+0100 | 0 | 0 | 0 | 0
2015-02-22T05:00:00+0100 | 0 | 0 | 0 | 0
2015-02-22T06:00:00+0100 | 0 | 0 | 0 | 0
2015-02-22T07:00:00+0100 | 0 | 0 | 0 | 0
2015-02-22T08:00:00+0100 | 0.00046007 | 0.00046007 | 0.00046007 | 0.00046007
2015-02-22T09:00:00+0100 | 0.0011045 | 0.0011045 | 0.0011045 | 0.0011045
2015-02-22T10:00:00+0100 | 0.0018799 | 0.0018799 | 0.0018799 | 0.0018799
2015-02-22T11:00:00+0100 | 0.0022227 | 0.0022227 | 0.0022227 | 0.0022227
2015-02-22T12:00:00+0100 | 0.0022538 | 0.0022538 | 0.0022538 | 0.0022538
2015-02-22T13:00:00+0100 | 0.0028811 | 0.0028811 | 0.0028811 | 0.0028811
2015-02-22T14:00:00+0100 | 0.0025574 | 0.0025574 | 0.0025574 | 0.0025574
2015-02-22T15:00:00+0100 | 0.0021717 | 0.0021717 | 0.0021717 | 0.0021717
2015-02-22T16:00:00+0100 | 0.0016247 | 0.0016247 | 0.0016247 | 0.0016247
2015-02-22T17:00:00+0100 | 0.00088068 | 0.00088068 | 0.00088068 | 0.00088068
2015-02-22T18:00:00+0100 | 0 | 0 | 0 | 0
2015-02-22T19:00:00+0100 | 0 | 0 | 0 | 0
2015-02-22T20:00:00+0100 | 0 | 0 | 0 | 0
2015-02-22T21:00:00+0100 | 0 | 0 | 0 | 0
2015-02-22T22:00:00+0100 | 0 | 0 | 0 | 0
2015-02-22T23:00:00+0100 | 0 | 0 | 0 | 0
2015-02-23T00:00:00+0100 | 0 | 0 | 0 | 0
2015-02-23T01:00:00+0100 | 0 | 0 | 0 | 0
2015-02-23T02:00:00+0100 | 0 | 0 | 0 | 0
2015-02-23T03:00:00+0100 | 0 | 0 | 0 | 0
2015-02-23T04:00:00+0100 | 0 | 0 | 0 | 0
2015-02-23T05:00:00+0100 | 0 | 0 | 0 | 0
2015-02-23T06:00:00+0100 | 1.8432e-05 | 1.8432e-05 | 1.8432e-05 | 1.8432e-05
2015-02-23T07:00:00+0100 | 0.00022355 | 0.00022355 | 0.00022355 | 0.00022355
2015-02-23T08:00:00+0100 | 0.0010189 | 0.0010189 | 0.0010189 | 0.0010189
2015-02-23T09:00:00+0100 | 0.0014978 | 0.0014978 | 0.0014978 | 0.0014978
2015-02-23T10:00:00+0100 | 0.0022042 | 0.0022042 | 0.0022042 | 0.0022042
2015-02-23T11:00:00+0100 | 0.0023401 | 0.0023401 | 0.0023401 | 0.0023401
2015-02-23T12:00:00+0100 | 0.0023896 | 0.0023896 | 0.0023896 | 0.0023896
2015-02-23T13:00:00+0100 | 0.0027591 | 0.0027591 | 0.0027591 | 0.0027591
2015-02-23T14:00:00+0100 | 0.0021159 | 0.0021159 | 0.0021159 | 0.0021159
2015-02-23T15:00:00+0100 | 0.0018684 | 0.0018684 | 0.0018684 | 0.0018684
2015-02-23T16:00:00+0100 | 0.0015872 | 0.0015872 | 0.0015872 | 0.0015872
2015-02-23T17:00:00+0100 | 0.00016169 | 0.00016169 | 0.00016169 | 0.00016169
2015-02-23T18:00:00+0100 | 0 | 0 | 0 | 0
2015-02-23T19:00:00+0100 | 0 | 0 | 0 | 0
2015-02-23T20:00:00+0100 | 0 | 0 | 0 | 0
2015-02-23T21:00:00+0100 | 0 | 0 | 0 | 0
2015-02-23T22:00:00+0100 | 0 | 0 | 0 | 0
2015-02-23T23:00:00+0100 | 0 | 0 | 0 | 0
2015-02-24T00:00:00+0100 | 0 | 0 | 0 | 0
2015-02-24T01:00:00+0100 | 0 | 0 | 0 | 0
2015-02-24T02:00:00+0100 | 0 | 0 | 0 | 0
2015-02-24T03:00:00+0100 | 0 | 0 | 0 | 0
2015-02-24T04:00:00+0100 | 0 | 0 | 0 | 0
2015-02-24T05:00:00+0100 | 0 | 0 | 0 | 0
2015-02-24T06:00:00+0100 | 0 | 0 | 0 | 0
2015-02-24T07:00:00+0100 | 1.4049e-05 | 1.4049e-05 | 1.4049e-05 | 1.4049e-05
2015-02-24T08:00:00+0100 | 0.00076399 | 0.00076399 | 0.00076399 | 0.00076399
2015-02-24T09:00:00+0100 | 0.0015135 | 0.0015135 | 0.0015135 | 0.0015135
2015-02-24T10:00:00+0100 | 0.0020456 | 0.0020456 | 0.0020456 | 0.0020456
2015-02-24T11:00:00+0100 | 0.0020343 | 0.0020343 | 0.0020343 | 0.0020343
2015-02-24T12:00:00+0100 | 0.0013143 | 0.0013143 | 0.0013143 | 0.0013143
2015-02-24T13:00:00+0100 | 0.0024271 | 0.0024271 | 0.0024271 | 0.0024271
2015-02-24T14:00:00+0100 | 0.0024152 | 0.0024152 | 0.0024152 | 0.0024152
2015-02-24T15:00:00+0100 | 0.0021413 | 0.0021413 | 0.0021413 | 0.0021413
2015-02-24T16:00:00+0100 | 0.0010417 | 0.0010417 | 0.0010417 | 0.0010417
2015-02-24T17:00:00+0100 | 0.00066875 | 0.00066875 | 0.00066875 | 0.00066875
2015-02-24T18:00:00+0100 | 6.8941e-05 | 6.8941e-05 | 6.8941e-05 | 6.8941e-05
2015-02-24T19:00:00+0100 | 0 | 0 | 0 | 0
2015-02-24T20:00:00+0100 | 0 | 0 | 0 | 0
2015-02-24T21:00:00+0100 | 0 | 0 | 0 | 0
2015-02-24T22:00:00+0100 | 0 | 0 | 0 | 0
2015-02-24T23:00:00+0100 | 0 | 0 | 0 | 0
2015-02-25T00:00:00+0100 | 0 | 0 | 0 | 0
2015-02-25T01:00:00+0100 | 0 | 0 | 0 | 0
2015-02-25T02:00:00+0100 | 0 | 0 | 0 | 0
2015-02-25T03:00:00+0100 | 0 | 0 | 0 | 0
2015-02-25T04:00:00+0100 | 0 | 0 | 0 | 0
2015-02-25T05:00:00+0100 | 0 | 0 | 0 | 0
2015-02-25T06:00:00+0100 | 0 | 0 | 0 | 0
2015-02-25T07:00:00+0100 | 0.00033262 | 0.00033262 | 0.00033262 | 0.00033262
2015-02-25T08:00:00+0100 | 0.0015003 | 0.0015003 | 0.0015003 | 0.0015003
2015-02-25T09:00:00+0100 | 0.0020823 | 0.0020823 | 0.0020823 | 0.0020823
2015-02-25T10:00:00+0100 | 0.0025345 | 0.0025345 | 0.0025345 | 0.0025345
2015-02-25T11:00:00+0100 | 0.0031218 | 0.0031218 | 0.0031218 | 0.0031218
2015-02-25T12:00:00+0100 | 0.0030801 | 0.0030801 | 0.0030801 | 0.0030801
2015-02-25T13:00:00+0100 | 0.0030652 | 0.0030652 | 0.0030652 | 0.0030652
2015-02-25T14:00:00+0100 | 0.0028232 | 0.0028232 | 0.0028232 | 0.0028232
2015-02-25T15:00:00+0100 | 0.0013954 | 0.0013954 | 0.0013954 | 0.0013954
2015-02-25T16:00:00+0100 | 0.0015105 | 0.0015105 | 0.0015105 | 0.0015105
2015-02-25T17:00:00+0100 | 0.00098146 | 0.00098146 | 0.00098146 | 0.00098146
2015-02-25T18:00:00+0100 | 1.6729e-05 | 1.6729e-05 | 1.6729e-05 | 1.6729e-05
2015-02-25T19:00:00+0100 | 0 | 0 | 0 | 0
2015-02-25T20:00:00+0100 | 0 | 0 | 0 | 0
2015-02-25T21:00:00+0100 | 0 | 0 | 0 | 0
2015-02-25T22:00:00+0100 | 0 | 0 | 0 | 0
2015-02-25T23:00:00+0100 | 0 | 0 | 0 | 0
2015-02-26T00:00:00+0100 | 0 | 0 | 0 | 0

## Prices
Timestamp | Profile_ID NB: Prices en €/MWh | Profile_ID
| Tariff_mono | Tariff_bi
2015-02-19T00:00:00+0100 | 161.33 | 137.38
2015-02-19T01:00:00+0100 | 161.33 | 137.38
2015-02-19T02:00:00+0100 | 161.33 | 137.38
2015-02-19T03:00:00+0100 | 161.33 | 137.38
2015-02-19T04:00:00+0100 | 161.33 | 137.38
2015-02-19T05:00:00+0100 | 161.33 | 137.38
2015-02-19T06:00:00+0100 | 161.33 | 179.88
2015-02-19T07:00:00+0100 | 161.33 | 179.88
2015-02-19T08:00:00+0100 | 161.33 | 179.88
2015-02-19T09:00:00+0100 | 161.33 | 179.88
2015-02-19T10:00:00+0100 | 161.33 | 179.88
2015-02-19T11:00:00+0100 | 161.33 | 179.88
2015-02-19T12:00:00+0100 | 161.33 | 179.88
2015-02-19T13:00:00+0100 | 161.33 | 179.88
2015-02-19T14:00:00+0100 | 161.33 | 179.88
2015-02-19T15:00:00+0100 | 161.33 | 179.88
2015-02-19T16:00:00+0100 | 161.33 | 179.88
2015-02-19T17:00:00+0100 | 161.33 | 179.88
2015-02-19T18:00:00+0100 | 161.33 | 179.88
2015-02-19T19:00:00+0100 | 161.33 | 179.88
2015-02-19T20:00:00+0100 | 161.33 | 179.88
2015-02-19T21:00:00+0100 | 161.33 | 137.38
2015-02-19T22:00:00+0100 | 161.33 | 137.38
2015-02-19T23:00:00+0100 | 161.33 | 137.38
2015-02-20T00:00:00+0100 | 161.33 | 137.38
2015-02-20T01:00:00+0100 | 161.33 | 137.38
2015-02-20T02:00:00+0100 | 161.33 | 137.38
2015-02-20T03:00:00+0100 | 161.33 | 137.38
2015-02-20T04:00:00+0100 | 161.33 | 137.38
2015-02-20T05:00:00+0100 | 161.33 | 137.38
2015-02-20T06:00:00+0100 | 161.33 | 179.88
2015-02-20T07:00:00+0100 | 161.33 | 179.88
2015-02-20T08:00:00+0100 | 161.33 | 179.88
2015-02-20T09:00:00+0100 | 161.33 | 179.88
2015-02-20T10:00:00+0100 | 161.33 | 179.88
2015-02-20T11:00:00+0100 | 161.33 | 179.88
2015-02-20T12:00:00+0100 | 161.33 | 179.88
2015-02-20T13:00:00+0100 | 161.33 | 179.88
2015-02-20T14:00:00+0100 | 161.33 | 179.88
2015-02-20T15:00:00+0100 | 161.33 | 179.88
2015-02-20T16:00:00+0100 | 161.33 | 179.88
2015-02-20T17:00:00+0100 | 161.33 | 179.88
2015-02-20T18:00:00+0100 | 161.33 | 179.88
2015-02-20T19:00:00+0100 | 161.33 | 179.88
2015-02-20T20:00:00+0100 | 161.33 | 179.88
2015-02-20T21:00:00+0100 | 161.33 | 137.38
2015-02-20T22:00:00+0100 | 161.33 | 137.38
2015-02-20T23:00:00+0100 | 161.33 | 137.38
2015-02-21T00:00:00+0100 | 161.33 | 137.38
2015-02-21T01:00:00+0100 | 161.33 | 137.38
2015-02-21T02:00:00+0100 | 161.33 | 137.38
2015-02-21T03:00:00+0100 | 161.33 | 137.38
2015-02-21T04:00:00+0100 | 161.33 | 137.38
2015-02-21T05:00:00+0100 | 161.33 | 137.38
2015-02-21T06:00:00+0100 | 161.33 | 179.88
2015-02-21T07:00:00+0100 | 161.33 | 179.88
2015-02-21T08:00:00+0100 | 161.33 | 179.88
2015-02-21T09:00:00+0100 | 161.33 | 179.88
2015-02-21T10:00:00+0100 | 161.33 | 179.88
2015-02-21T11:00:00+0100 | 161.33 | 179.88
2015-02-21T12:00:00+0100 | 161.33 | 179.88
2015-02-21T13:00:00+0100 | 161.33 | 179.88
2015-02-21T14:00:00+0100 | 161.33 | 179.88
2015-02-21T15:00:00+0100 | 161.33 | 179.88
2015-02-21T16:00:00+0100 | 161.33 | 179.88
2015-02-21T17:00:00+0100 | 161.33 | 179.88
2015-02-21T18:00:00+0100 | 161.33 | 179.88
2015-02-21T19:00:00+0100 | 161.33 | 179.88
2015-02-21T20:00:00+0100 | 161.33 | 179.88
2015-02-21T21:00:00+0100 | 161.33 | 137.38
2015-02-21T22:00:00+0100 | 161.33 | 137.38
2015-02-21T23:00:00+0100 | 161.33 | 137.38
2015-02-22T00:00:00+0100 | 161.33 | 137.38
2015-02-22T01:00:00+0100 | 161.33 | 137.38
2015-02-22T02:00:00+0100 | 161.33 | 137.38
2015-02-22T03:00:00+0100 | 161.33 | 137.38
2015-02-22T04:00:00+0100 | 161.33 | 137.38
2015-02-22T05:00:00+0100 | 161.33 | 137.38
2015-02-22T06:00:00+0100 | 161.33 | 179.88
2015-02-22T07:00:00+0100 | 161.33 | 179.88
2015-02-22T08:00:00+0100 | 161.33 | 179.88
2015-02-22T09:00:00+0100 | 161.33 | 179.88
2015-02-22T10:00:00+0100 | 161.33 | 179.88
2015-02-22T11:00:00+0100 | 161.33 | 179.88
2015-02-22T12:00:00+0100 | 161.33 | 179.88
2015-02-22T13:00:00+0100 | 161.33 | 179.88
2015-02-22T14:00:00+0100 | 161.33 | 179.88
2015-02-22T15:00:00+0100 | 161.33 | 179.88
2015-02-22T16:00:00+0100 | 161.33 | 179.88
2015-02-22T17:00:00+0100 | 161.33 | 179.88
2015-02-22T18:00:00+0100 | 161.33 | 179.88
2015-02-22T19:00:00+0100 | 161.33 | 179.88
2015-02-22T20:00:00+0100 | 161.33 | 179.88
2015-02-22T21:00:00+0100 | 161.33 | 137.38
2015-02-22T22:00:00+0100 | 161.33 | 137.38
2015-02-22T23:00:00+0100 | 161.33 | 137.38
2015-02-23T00:00:00+0100 | 161.33 | 137.38
2015-02-23T01:00:00+0100 | 161.33 | 137.38
2015-02-23T02:00:00+0100 | 161.33 | 137.38
2015-02-23T03:00:00+0100 | 161.33 | 137.38
2015-02-23T04:00:00+0100 | 161.33 | 137.38
2015-02-23T05:00:00+0100 | 161.33 | 137.38
2015-02-23T06:00:00+0100 | 161.33 | 179.88
2015-02-23T07:00:00+0100 | 161.33 | 179.88
2015-02-23T08:00:00+0100 | 161.33 | 179.88
2015-02-23T09:00:00+0100 | 161.33 | 179.88
2015-02-23T10:00:00+0100 | 161.33 | 179.88
2015-02-23T11:00:00+0100 | 161.33 | 179.88
2015-02-23T12:00:00+0100 | 161.33 | 179.88
2015-02-23T13:00:00+0100 | 161.33 | 179.88
2015-02-23T14:00:00+0100 | 161.33 | 179.88
2015-02-23T15:00:00+0100 | 161.33 | 179.88
2015-02-23T16:00:00+0100 | 161.33 | 179.88
2015-02-23T17:00:00+0100 | 161.33 | 179.88
2015-02-23T18:00:00+0100 | 161.33 | 179.88
2015-02-23T19:00:00+0100 | 161.33 | 179.88
2015-02-23T20:00:00+0100 | 161.33 | 179.88
2015-02-23T21:00:00+0100 | 161.33 | 137.38
2015-02-23T22:00:00+0100 | 161.33 | 137.38
2015-02-23T23:00:00+0100 | 161.33 | 137.38
2015-02-24T00:00:00+0100 | 161.33 | 137.38
2015-02-24T01:00:00+0100 | 161.33 | 137.38
2015-02-24T02:00:00+0100 | 161.33 | 137.38
2015-02-24T03:00:00+0100 | 161.33 | 137.38
2015-02-24T04:00:00+0100 | 161.33 | 137.38
2015-02-24T05:00:00+0100 | 161.33 | 137.38
2015-02-24T06:00:00+0100 | 161.33 | 179.88
2015-02-24T07:00:00+0100 | 161.33 | 179.88
2015-02-24T08:00:00+0100 | 161.33 | 179.88
2015-02-24T09:00:00+0100 | 161.33 | 179.88
2015-02-24T10:00:00+0100 | 161.33 | 179.88
2015-02-24T11:00:00+0100 | 161.33 | 179.88
2015-02-24T12:00:00+0100 | 161.33 | 179.88
2015-02-24T13:00:00+0100 | 161.33 | 179.88
2015-02-24T14:00:00+0100 | 161.33 | 179.88
2015-02-24T15:00:00+0100 | 161.33 | 179.88
2015-02-24T16:00:00+0100 | 161.33 | 179.88
2015-02-24T17:00:00+0100 | 161.33 | 179.88
2015-02-24T18:00:00+0100 | 161.33 | 179.88
2015-02-24T19:00:00+0100 | 161.33 | 179.88
2015-02-24T20:00:00+0100 | 161.33 | 179.88
2015-02-24T21:00:00+0100 | 161.33 | 137.38
2015-02-24T22:00:00+0100 | 161.33 | 137.38
2015-02-24T23:00:00+0100 | 161.33 | 137.38
2015-02-25T00:00:00+0100 | 161.33 | 137.38
2015-02-25T01:00:00+0100 | 161.33 | 137.38
2015-02-25T02:00:00+0100 | 161.33 | 137.38
2015-02-25T03:00:00+0100 | 161.33 | 137.38
2015-02-25T04:00:00+0100 | 161.33 | 137.38
2015-02-25T05:00:00+0100 | 161.33 | 137.38
2015-02-25T06:00:00+0100 | 161.33 | 179.88
2015-02-25T07:00:00+0100 | 161.33 | 179.88
2015-02-25T08:00:00+0100 | 161.33 | 179.88
2015-02-25T09:00:00+0100 | 161.33 | 179.88
2015-02-25T10:00:00+0100 | 161.33 | 179.88
2015-02-25T11:00:00+0100 | 161.33 | 179.88
2015-02-25T12:00:00+0100 | 161.33 | 179.88
2015-02-25T13:00:00+0100 | 161.33 | 179.88
2015-02-25T14:00:00+0100 | 161.33 | 179.88
2015-02-25T15:00:00+0100 | 161.33 | 179.88
2015-02-25T16:00:00+0100 | 161.33 | 179.88
2015-02-25T17:00:00+0100 | 161.33 | 179.88
2015-02-25T18:00:00+0100 | 161.33 | 179.88
2015-02-25T19:00:00+0100 | 161.33 | 179.88
2015-02-25T20:00:00+0100 | 161.33 | 179.88
2015-02-25T21:00:00+0100 | 161.33 | 137.38
2015-02-25T22:00:00+0100 | 161.33 | 137.38
2015-02-25T23:00:00+0100 | 161.33 | 137.38
2015-02-26T00:00:00+0100 | 161.33 | 137.38

## Batteries
Batteries Caracteristics
interaste rate r= | 0.05 | 4
Number of hours in a year | 8760
Lifetime of the battery (years) | 10
Lifetime of the battery (h) | 87600
RoundTripefficiency | 0.95
Charging factor | 0.97468
Dischargingfactor | 0.97468
|  | Annualized cost (€/kWy) | FC (€/MWh)
Battery Investment cost (€/kwh) | 300 | 38.8514 | 4.4351
| 250 | 32.3761 | 3.6959
| 200 | 25.9009 | 2.9567
| 100 | 12.9505 | 1.4784
| 150 | 19.4257 | 2.2175

## PvInvestment
Solar
interaste rate r= | 0.05
Number of hours in a year | 8760
Lifetime of the PV Panel (years) | 20
|  | Annualized cost (€/kWy) | FC (€/MWh)
Solar Investment | 400 | 32.097 | 3.664
| 250 | 20.0606 | 2.29
| 200 | 16.0485 | 1.832
| 100 | 8.0243 | 0.91601